配电网监测业务线SQL查询实现与对比分析

一、配电房-回路-变压器多维度运行状态统计场景

运维管理人员需统计指定电压等级配电房的设备总数、异常设备分布及负责人信息，用于配电网整体运行状态评估、运维资源调度及故障优先级排序。

第一种实现方式：基于多表JOIN与聚合函数的直接统计

该方式以配电房表为核心，通过内连接关联回路、变压器相关表，外连接关联负责人表，直接使用聚合函数汇总设备数量与异常状态。查询结构清晰，完整体现实体间的关联关系，适合业务展示与系统功能直接调用。

SELECT

p.room_id AS 配电房编号,

p.room_name AS 配电房名称,

p.voltage_level AS 电压等级,

m.manager_name AS 负责人姓名,

m.manager_phone AS 负责人手机号,

COUNT(DISTINCT ci.circuit_id) AS 回路总数,

SUM(CASE WHEN cm.operation_status = '异常' THEN 1 ELSE 0 END) AS 异常回路数量,

COUNT(DISTINCT t.device_id) AS 变压器总数,

SUM(CASE WHEN tm.operation_status = '异常' THEN 1 ELSE 0 END) AS 异常变压器数量

FROM power_distribution_room p

JOIN circuit_info ci ON p.room_id = ci.room_id

LEFT JOIN circuit_monitoring_data cm ON ci.circuit_id = cm.circuit_id

AND cm.collected_at >= DATEADD(DAY, -7, GETDATE())

JOIN transformer_info t ON p.room_id = t.room_id

LEFT JOIN transformer_monitoring_data tm ON t.device_id = tm.device_id

AND tm.collected_at >= DATEADD(DAY, -7, GETDATE())

LEFT JOIN manager_info m ON p.manager_id = m.manager_id

WHERE p.voltage_level = '35KV'

GROUP BY p.room_id, p.room_name, p.voltage_level, m.manager_name, m.manager_phone

ORDER BY 异常回路数量 + 异常变压器数量 DESC;

第二种实现方式：子查询预统计与主查询关联聚合

该方式先通过子查询分别统计回路、变压器的异常数量，将统计结果作为临时数据集，再与配电房、负责人表关联。子查询聚焦单一维度统计，减少主查询中多表关联的复杂度，避免因多表连接导致的数据集膨胀，在监测数据量达百万级时，执行效率更优。

SELECT

p.room_id AS 配电房编号,

p.room_name AS 配电房名称,

p.voltage_level AS 电压等级,

m.manager_name AS 负责人姓名,

m.manager_phone AS 负责人手机号,

circuit_stats.回路总数,

circuit_stats.异常回路数量,

transformer_stats.变压器总数,

transformer_stats.异常变压器数量

FROM power_distribution_room p

LEFT JOIN manager_info m ON p.manager_id = m.manager_id

-- 子查询预统计回路数据

LEFT JOIN (

SELECT

ci.room_id,

COUNT(DISTINCT ci.circuit_id) AS 回路总数,

SUM(CASE WHEN cm.operation_status = '异常' THEN 1 ELSE 0 END) AS 异常回路数量

FROM circuit_info ci

LEFT JOIN circuit_monitoring_data cm ON ci.circuit_id = cm.circuit_id

AND cm.collected_at >= DATEADD(DAY, -7, GETDATE())

GROUP BY ci.room_id

) circuit_stats ON p.room_id = circuit_stats.room_id

-- 子查询预统计变压器数据

LEFT JOIN (

SELECT

t.room_id,

COUNT(DISTINCT t.device_id) AS 变压器总数,

SUM(CASE WHEN tm.operation_status = '异常' THEN 1 ELSE 0 END) AS 异常变压器数量

FROM transformer_info t

LEFT JOIN transformer_monitoring_data tm ON t.device_id = tm.device_id

AND tm.collected_at >= DATEADD(DAY, -7, GETDATE())

GROUP BY t.room_id

) transformer_stats ON p.room_id = transformer_stats.room_id

WHERE p.voltage_level = '35KV'

ORDER BY 异常回路数量 + 异常变压器数量 DESC;

对比来看，多表 JOIN 直接统计与子查询预统计结果一致，但设计思路和适用场景差异明显。多表 JOIN 直接统计以实体关联为核心，直接关联配电房、回路等相关表并搭配聚合函数，逻辑直观，能完整呈现业务链路，可读性与可维护性强，适合数据量适中或需展示完整业务关系的场景，便于后期调整；子查询预统计采用 “分而治之” 思路，先通过独立子查询完成单一维度统计，再关联汇总，减少笛卡尔积效应，在百万级数据场景下执行更高效，但需维护多个子查询。

二、回路异常数据溯源查询场景

需查询近 7 天内电压/电流超阈值的回路异常数据，并关联配电房、回路基础信息，用于分析异常原因、验证阈值设置合理性及生成故障分析报告。

第一种实现方式：JOIN关联+WHERE条件筛选

该方式通过内连接关联回路监测数据、回路信息表、配电房表，直接在 WHERE 子句中筛选异常条件与时间范围。查询结构简洁，条件筛选逻辑清晰，充分利用 circuit_id 外键索引与 collected_at 时间索引，适合需要快速定位异常数据并关联基础信息的场景。

SELECT

cm.record_id AS 数据编号,

p.room_name AS 配电房名称,

ci.circuit_name AS 回路名称,

ci.rated_voltage_kv AS 额定电压,

ci.voltage_upper_limit_kv AS 电压上限,

cm.voltage_kv AS 实际电压,

ci.rated_current_a AS 额定电流,

ci.current_upper_limit_a AS 电流上限,

cm.current_a AS 实际电流,

cm.collected_at AS 采集时间,

cm.operation_status AS 运行状态

FROM circuit_monitoring_data cm

JOIN circuit_info ci ON cm.circuit_id = ci.circuit_id

JOIN power_distribution_room p ON ci.room_id = p.room_id

WHERE cm.collected_at >= DATEADD(DAY, -7, GETDATE())

AND (cm.voltage_kv > ci.voltage_upper_limit_kv

OR cm.voltage_kv < ci.voltage_lower_limit_kv

OR cm.current_a > ci.current_upper_limit_a)

AND cm.operation_status = '异常'

ORDER BY cm.collected_at DESC, p.room_name, ci.circuit_name;

第二种实现方式：JOIN + HAVING 聚合筛选（含异常次数统计）

该方式在关联表的基础上，通过 GROUP BY 按回路分组，HAVING 子句筛选存在异常数据的回路，并统计异常次数。适用于需要同时获取异常数据详情与回路异常频次的场景，可一次性满足异常数据查看与高频异常回路识别双重需求。

SELECT

ci.circuit_id AS 回路编号,

p.room_name AS 配电房名称,

ci.circuit_name AS 回路名称,

ci.rated_voltage_kv AS 额定电压,

ci.voltage_upper_limit_kv AS 电压上限,

MAX(cm.voltage_kv) AS 最大实际电压,

ci.rated_current_a AS 额定电流,

ci.current_upper_limit_a AS 电流上限,

MAX(cm.current_a) AS 最大实际电流,

COUNT(cm.record_id) AS 异常次数,

MIN(cm.collected_at) AS 首次异常时间,

MAX(cm.collected_at) AS 末次异常时间

FROM circuit_monitoring_data cm

JOIN circuit_info ci ON cm.circuit_id = ci.circuit_id

JOIN power_distribution_room p ON ci.room_id = p.room_id

WHERE cm.collected_at >= DATEADD(DAY, -7, GETDATE())

AND cm.operation_status = '异常'

GROUP BY ci.circuit_id, p.room_name, ci.circuit_name, ci.rated_voltage_kv, ci.voltage_upper_limit_kv, ci.rated_current_a, ci.current_upper_limit_a

HAVING (MAX(cm.voltage_kv) > ci.voltage_upper_limit_kv

OR MIN(cm.voltage_kv) < ci.voltage_lower_limit_kv

OR MAX(cm.current_a) > ci.current_upper_limit_a)

ORDER BY 异常次数 DESC, 末次异常时间 DESC;

对比来看，JOIN+WHERE筛选方式与JOIN+HAVING聚合方式针对不同业务需求场景设计，核心差异集中在查询颗粒度与适用场景上。JOIN+WHERE筛选方式聚焦单条异常数据的详情查询，通过直接关联相关表并在 WHERE 子句中筛选异常条件，返回每条异常数据的实际电压、采集时间等具体参数，查询结果颗粒度细，响应速度快，适合异常数据溯源与单条故障分析场景；而JOIN+HAVING 聚合方式则侧重回路异常频次的统计分析，通过GROUP BY分组与HAVING条件筛选，返回异常次数、最大/最小参数值等聚合信息，能够直接支撑运维优先级决策，便于识别高频异常回路并优先处理，但由于涉及聚合操作，在数据量极大时，响应时间会略长于JOIN+WHERE筛选方式。

三、配电房数据完整性校验场景

需校验近 7 天内各配电房回路、变压器监测数据的完整率，统计缺失字段的数据条数，用于评估数据采集质量、定位采集终端故障及优化数据传输方案。

第一种实现方式：CASE WHEN直接判定+聚合计算

该方式通过 CASE WHEN 语句直接在主查询中判定每条监测数据的完整性，再通过聚合函数计算完整率。逻辑直观，直接基于原始数据判定，无需额外子查询，适合需要快速计算完整率且对查询可读性要求较高的场景。

SELECT

p.room_id AS 配电房编号,

p.room_name AS 配电房名称,

-- 回路数据完整性统计

COUNT(DISTINCT cm.record_id) AS 回路总数据条数,

SUM(CASE WHEN cm.voltage_kv IS NOT NULL

AND cm.current_a IS NOT NULL

AND cm.active_power_kw IS NOT NULL THEN 1 ELSE 0 END) AS 回路完整数据条数,

ROUND(SUM(CASE WHEN cm.voltage_kv IS NOT NULL

AND cm.current_a IS NOT NULL

AND cm.active_power_kw IS NOT NULL THEN 1 ELSE 0 END) * 100.0 / NULLIF(COUNT(DISTINCT cm.record_id), 0), 2) AS 回路数据完整率,

-- 变压器数据完整性统计

COUNT(DISTINCT tm.record_id) AS 变压器总数据条数,

SUM(CASE WHEN tm.load_rate IS NOT NULL

AND tm.winding_temp IS NOT NULL

AND tm.core_temp IS NOT NULL THEN 1 ELSE 0 END) AS 变压器完整数据条数,

ROUND(SUM(CASE WHEN tm.load_rate IS NOT NULL

AND tm.winding_temp IS NOT NULL

AND tm.core_temp IS NOT NULL THEN 1 ELSE 0 END) * 100.0 / NULLIF(COUNT(DISTINCT tm.record_id), 0), 2) AS 变压器数据完整率

FROM power_distribution_room p

LEFT JOIN circuit_info ci ON p.room_id = ci.room_id

LEFT JOIN circuit_monitoring_data cm ON ci.circuit_id = cm.circuit_id

AND cm.collected_at >= DATEADD(DAY, -7, GETDATE())

LEFT JOIN transformer_info t ON p.room_id = t.room_id

LEFT JOIN transformer_monitoring_data tm ON t.device_id = tm.device_id

AND tm.collected_at >= DATEADD(DAY, -7, GETDATE())

GROUP BY p.room_id, p.room_name

ORDER BY 回路数据完整率, 变压器数据完整率;

第二种实现方式：CTE通用表表达式+关联统计

该方式通过CTE分别定义回路数据完整性、变压器数据完整性两个临时结果集，再与配电房表关联汇总。CTE使复杂统计逻辑模块化，便于拆分与维护，同时支持在CTE中添加索引提示，在数据量较大时可通过优化CTE执行计划提升性能，适合复杂完整性规则的场景。

WITH circuit_integrity AS (

SELECT

ci.room_id,

COUNT(DISTINCT cm.record_id) AS 回路总数据条数,

SUM(CASE WHEN cm.voltage_kv IS NOT NULL

AND cm.current_a IS NOT NULL

AND cm.active_power_kw IS NOT NULL THEN 1 ELSE 0 END) AS 回路完整数据条数

FROM circuit_info ci

LEFT JOIN circuit_monitoring_data cm ON ci.circuit_id = cm.circuit_id

AND cm.collected_at >= DATEADD(DAY, -7, GETDATE())

GROUP BY ci.room_id

),

transformer_integrity AS (

SELECT

t.room_id,

COUNT(DISTINCT tm.record_id) AS 变压器总数据条数,

SUM(CASE WHEN tm.load_rate IS NOT NULL

AND tm.winding_temp IS NOT NULL

AND tm.core_temp IS NOT NULL THEN 1 ELSE 0 END) AS 变压器完整数据条数

FROM transformer_info t

LEFT JOIN transformer_monitoring_data tm ON t.device_id = tm.device_id

AND tm.collected_at >= DATEADD(DAY, -7, GETDATE())

GROUP BY t.room_id

)

SELECT

p.room_id AS 配电房编号,

p.room_name AS 配电房名称,

COALESCE(ci.回路总数据条数, 0) AS 回路总数据条数,

COALESCE(ci.回路完整数据条数, 0) AS 回路完整数据条数,

ROUND(COALESCE(ci.回路完整数据条数, 0) * 100.0 / NULLIF(COALESCE(ci.回路总数据条数, 0), 0), 2) AS 回路数据完整率,

COALESCE(ti.变压器总数据条数, 0) AS 变压器总数据条数,

COALESCE(ti.变压器完整数据条数, 0) AS 变压器完整数据条数,

ROUND(COALESCE(ti.变压器完整数据条数, 0) * 100.0 / NULLIF(COALESCE(ti.变压器总数据条数, 0), 0), 2) AS 变压器数据完整率

FROM power_distribution_room p

LEFT JOIN circuit_integrity ci ON p.room_id = ci.room_id

LEFT JOIN transformer_integrity ti ON p.room_id = ti.room_id

ORDER BY 回路数据完整率, 变压器数据完整率;

对比来看，CASE WHEN直接判定方式与 CTE关联统计方式的核心统计逻辑一致，但在可读性与扩展性上存在明显差异。CASE WHEN直接判定方式无需额外临时数据集，查询语句结构紧凑，完整性判定逻辑与聚合计算处于同一层级，可读性强，适合仅需少量核心字段判定的简单完整性规则场景，开发与维护成本更低；而CTE关联统计方式将回路与变压器的完整性统计拆分为独立模块，逻辑拆分清晰，不仅支持复杂完整性规则的扩展，且CTE结果可被多次引用，扩展性优于前者，但在数据量较小时，其执行效率与直接判定方式差异不大。